# ADEMS code v2

## Change Log

Changes to ADEMS code 2.0 version:

1. implements the OME Bio Formats tools so can open almost any image file, although irritatingly not Sifs. set useBioFormats=1 to use. The old extractImageSequence can be used to open tifs, folders of tifs and Andor ascii data. You can also feed in the preloaded image array.

2. It will merge candidate spots which are within Candidate_d_min of each other. This can produce speed increases but not always. 2 is a good value or if set to 0 it won't use it.

3. New Gaussian fitting function which does not use matlabs curve fitting toolbox and produces massive speed increases (~8x). Downside is it is only 1D but for non-astigmatism data this is fine.

Changes to ADEMS code 1.4 version:

- Native parallelisation

- Read in parameters

## Description

The tracking software consists of a series of functions for opening data and tracking particles, as well as a number of analysis functions.

Useful to know: There is a ‘show_output’ option that can be used to view graphs and manually advance at each stage of the algorithm.

Cursor_mode: set =1 and user can manually specify where spots are. The code will return intensity values at this point over the whole time series.

ADEMScode2_0 This is the main tracking program and is a function of image_label, readData=1 to extract tif or 0 if data preloaded then runs on image_label, p is the parameter structure which can be read in or set by the code. It returns spot arrays for each channel and frame_average. It uses:

extractImageSequence3: extracts user set frames from tif specified by image_label, can open Andor ASCII files and folders full of tif frames

ImEx1: uses bftools to open many life science image formats. See Open Microscopy Environment for details.

LaserOn3: Calculates where the first illuminated frame is based on maximum intensity

FrameAverage2: Calculates a frame average/summation over set no. frames

findSpots2: thresholds the image with Otsu’s method to find candidate spots

findSpots3: thresholds the image with Otsu’s method to find candidate spots

findSpots4: performs findSpots2+3 in a more efficient way

findSpotCentre2: performs iterative Gaussian masking to find spot centre and total intensity

fit2DgaussianFixedCenter: fits a constrained 2D Gaussian to find sigma_x/y and central intensity

MergeCoincidentCandidates: will use pairwise distances to remove candidates which are too close to be resolved, in some circumstances faster by quite a slow function in itself

iterate1DgaussianFixedCenter: finds PSF width by masking with Gaussians of different sizes

MergeCoincidentSpots3:  iteratively finds spots which are too close together and averages their centres, assigns junk values to now redundant spot numbers

LinkSpots3: links spots into trajectories based on proximity

SpotsCh1/2 is an array, each row contains the information for a spot found in an image frame in the series. The columns contain the following information:

- X coordinate (pixels)

- Y coordinate (pixels)

- Clipping_flag (a switch, please  ignore)

- Mean local background pixel intensity

- Total spot intensity, background corrected

- X spot sigma width

- Y spot sigma width

- Spot central intensity (peak intensity in a fitted Gaussian)

- Frame number the spot was found in

- Trajectory number, spots in the same trajectory have the same trajectory number

- Signal to noise ratio

- Frame in which laser exposure began

## Other functions

IntensityPlot: generates plots from the data file and frame average

MoviePlot2: reads in spot data and tif data and plots trajectories on each frame to make into a movie

SpotBaseline: reads in spot data and image data,  uses last x/y co-ords of each trajectory as baseline cords and calculates 10 frames intensity values, stores it back in a new spot array. Use this to calculate zero values for seeing step bleaching.

Segmentation: scripts for segmenting cells

Useful Scripts: various scripts including kernel density function plots, plotting reconstructions, hot plots, cluster analysis, chung kennedy filtering etc,